## Slide 1: Investigating the Environmental Fate and Transport of Sunscreen Components: Understanding the Exposure Route
Steven Landeweer1 , Natalia Soares-Quinete2 , Piero Gardinali1,2
1Department Of Chemistry And Biochemistry, Florida International University, 11200 SW 8th Street, Modesto A. Maidique Campus, Miami, Florida, 33199 United States.
2Southeast Environmental Research Center (SERC), Florida International University, 3000 Ne 151st St, Biscayne Bay Campus, North Miami, Florida, 33181, United States.

## Slide 2: Why We’re Here
UV filters, especially oxybenzone, have been linked to adverse effects in coral
Many jurisdictions have considered or passed bans on certain sunscreen formulations
However, much is still unknown

## Slide 3: My Question
How does oxybenzone actually behave in the water column?
Log Kow = 3.79 (EpiSuite)
Two interfaces to worry about- oil/water and water/air

## Slide 4: Goals
To determine the concentration of oxybenzone in aqueous solution in equilibrium with a commercial sunscreen formulation
To determine the time it takes to reach that equilibrium
Are these values effected by salinity?
To create a truly dissolved solution of UV filters in water

## Slide 5: Methodology
Silicone Passive Diffusion Releasers (SPDRs)
Permeable PDMS membranes
1 gram of sunscreen in three SPDRs added to a jar with 2 liters of either DI Water or artificial seawater
Stirred at 60 rpm (without forming a vortex)
Samples analyzed by LC-MS

## Slide 6: LCMS
Thermo Q-Exactive Orbitrap
10 μL injection volume
Heated electrospray ionization (HESI) source
Positive Mode
Parallel Reaction Monitoring (PRM) method

## Slide 7: Modeling
PAHs were previously found to behave according to the equations
Ct = Ceq x (1 - e-kt)
teq = 3/k
Ceq = equilibrium concentration
teq = time until equilibrium
Loreta Alvarez-Fraga, Cesar E. Ramirez, Natalia Quinete, Sudha Rani Batchu, Kathia Sandoval and Piero R. Gardinai Unpublished Data

## Slide 8: Results: Deionized Water
Ct=0.901(1-e-0.320t)
Ceq = 0.901 ppm
teq = 9.8 hr

## Slide 9: Results: Artificial Seawater
Ct=1.78(1-e-0.876t)
Ceq = 1.78 ppm
teq = 3.4 hr

## Slide 10: Results Comparison
 | DI Water | Artificial Seawater
Oxybenzone Added | 60 mg | 60 mg
Equilibrium Concentration | 0.901 ppm | 1.78 ppm
Oxybenzone in Solution | 1.80 mg | 3.56 mg
Percentage of Oxybenzone in Solution | 3.00% | 5.93%
Predicted Solubility, EpiSuite: 68.6 ppm

## Slide 11: Matrix Effects?
Ran 5 100 ppm replicates in DI water and artificial seawater
Performed a t test
P value = 0.341
No significant difference

## Slide 12: Environmental Levels
Environmental samples from Biscayne Bay analyzed by LCMS method
Oxybenzone detected up to 31 ppt in Biscayne National Park, and up to 53 ppt in northern Biscayne Bay
Much lower than concentrations achieved from SPDR experiments

## Slide 13: Conclusions/summary
A truly dissolved solution of oxybenzone was created by use of SPDRs
The concentration over time of oxybenzone in solution was accurately modeled
Equilibrium between sunscreen formulation and aqueous solution was reached in 9.8 hr for DI water and 3.4 hr for artificial seawater
Concentrations at equilibrium were 0.901 ppm in DI water and 1.78 ppm in artificial seawater

## Slide 14: Lingering Questions/Future Work
Why is equilibrium concentration of oxybenzone higher in ASW than DI water?
  Property of the PDMS?
  Interactions with inactive ingredients?
Create models for all common sunscreen ingredients

## Slide 15: Acknowledgements
This material is based upon work supported by the National Science Foundation under Grant No. HRD-1547798. This NSF Grant was awarded to Florida International University as part of the Centers of Research Excellence in Science and Technology (CREST) Program. Any opinions, findings, and conclusions or recommendations expressed in this material are those of the author(s) and do not necessarily reflect the views of the National Science Foundation.
Research Advisor:
Dr. Piero Gardinali
Group members:
Dr. Natalia Quiente
Autumn Henderson
Brian Ng
Kassidy Troxell
Kyle Meerbott